## Slide 1: EE3114 Systems and Control 6. PID Controllers
Semester A, 2018-19
2018-10-10

## Slide 2: Framework of Lectures
System
Time Domain Frequency Domain
 Laplace Transform 
State-Space Formulation Frequency Analysis
(dynamic responses, transients,
steady-states, root-locus,
PID controllers)
 mixed 
(State-feedback,
Controllability, controller
Observability, observer
Optimal control)
Today:
PID Controllers

## Slide 3: Closed-Loop Feedback Control Systems
REFERENCE
OUTPUT
Unity FEEDBACK

## Slide 4: PID (Proportional-Integral-Derivative) Controller
More details will follow …
Controller
Disturbance
Plant
Noise

## Slide 5
History
Christian Huygens in 1673: centrifugal governor to regulate the gap between millstones in windmills
James Watt in 1788: flyball governor for steam engine (proportional P-control)
James Clerk Maxwell in 1868: mathematical basis for control stability
Elmer Sperry in 1911: proportional-integral-derivative (PID) controller for ship-steering
Nicolas Minorsky in 1922: Formal control laws of PID control

## Slide 6
Industrial PID control
Harold Black in late 1920s: Telephone engineering
Clesson E Mason in 1930: PI-controller, with negative feedback from the controller output
In the 1950s, when high gain electronic amplifiers available, electronic PID controllers became popular
Most modern PID controllers in industry are implemented in distributed control systems (DCS), programmable logic controllers (PLCs), or as a panel-mounted digital controller.
PID controllers are widely applied in industry, e.g., industrial assembly lines, chemical processes, electronic packaging, head positioning of disk drive, power conditioning of power supply, movement-detection circuit of modern seismometer, multirotor drones, … …

## Slide 7: Second-Order Plants
Controller
DC Motor
Controller C(s):
Proportional-Integral-Derivative (PID) controller
G(s)
Typical 2nd-order system
Transfer Function contains both the plant and the controller

## Slide 8: P (Proportional) Control
u(t) = e(t) (controller output ∝ e(t) )
Closed-loop system: unity feedback with
(controller + plant)
Closed-loop Transfer Function:

## Slide 9
Steady-State Tracking Performance
  System type = 0
  Steady-State Tracking Error for Step input r(t) is
  Larger  Smaller

## Slide 10
Transient Performance
  Characteristic equation:
  ↑  ↑ ωn  ↓ Rise Time
  Damping ratio
  ↑  ↓  ↑ Overshoot
Closed-loop Transfer Function:

## Slide 11
Typical Unit Step Response of P-Control
↑  ↑ ωn  ↓ Rise Time
↑  ↓  ↑ Overshoot

## Slide 12
Example:
Type-0:
Type-1:
Type-2:
(P-controller + Plant)
Input: (ramp input) A – constant

## Slide 13
↑ Kp  ↓ Rise Time
↑ Kp  ↑ Overshoot
Type-0

## Slide 14
Type-1

## Slide 15
Type-2

## Slide 16: I (Integral) Control
(Integral time is a scaling constant)
(controller output ∝ integral of e(t))
Closed-loop system: with unity feedback
(Type-1)
(Integral control)

## Slide 17
  Steady-State Tracking Error for Ramp input r(t) is
   Reduce steady-state error for ramp input
  (Performance better than P-control)
Steady-Sate Tracking Performance
  Larger  Smaller

## Slide 18
Transient Performance
  Has one more pole than P-control
  Poles closer to imaginary axis
   Lower damping ratio
  Internal instability for large (magnifies error
Recall from Lectrure-3:
A zero near a pole reduces the effect of the pole on response
A zero on RHP --> non-minimum-phase system
A real zero on LHP moving towards imaginary axis will increase overshoot and rise time
A pair of complex conjugate zeros on LHP, moving toward imaginary axis, will increase overshoot

## Slide 19
Ki = 1
Typical Unit Step Response of I-Control
Large 
small steady-state error
large overshoot

## Slide 20
Comparison between P-control and I-control

## Slide 21
A real comparison between P-control and I-control
P-control I-control
(Lightbulb Temperature Control)

## Slide 22: PI (Proportional-Integral) Control
This simple combination is much more powerful
PI-controller output u(t) ∝ e(t) + (integral of e(t) )

## Slide 23: PI Control
(controller output ∝ e(t) + ( integral of e(t) )
Sometimes, write:
( and )

## Slide 24
Steady-State Tracking Performance
  System type = 1
  Steady-State Tracking Error for Ramp input r(t) is
G(s)
  Same as I-control: Larger  Smaller

## Slide 25
Transient Performance
  Has one more zero than I-control
  Better damped effect than I–control for step input
  Worse transient performance than P-control
  Always stable for large if >
Verification:
Apply Routh criterion to
Closed-loop Transfer Function:

## Slide 26
Comparison of Typical Unit Step Responses
Set-point
Transient performance: P > PI > I
Steady-state performance: PI > I > P

## Slide 27: Derivative Control
Taking derivative on signals  instability + large errors
Usually, not being used alone

## Slide 28
Steady-State Tracking Performance
  System type = 0
  Steady-State Tracking Error for Step input r(t) is
Usually, a constant
 Steady-State Tracking Errors cannot be reduced/eliminated

## Slide 29
Transient Performance
Closed-loop Transfer Function:
TD enters the damping ratio:
Potentially, making larger  Higher dampling

Stabilizing the transient of the D-controlled system

## Slide 30
Typical Unit Step Response of D-Control
Kd = 1

## Slide 31: PD (Proportional-Derivative) Control
This simple combination is more powerful
PD-controller output u(t) ∝ e(t) + (derivative of e(t) )
Derivative (D)

## Slide 32: PD Control
(controller output ∝ e(t) + ( derivative of e(t) )
Sometimes write:
( and )

## Slide 33
Steady-State Tracking Performance
  System type = 0
  Steady-State Tracking Error for Step input r(t) is
  Same as P-control: Large  Small
G(s)

## Slide 34
Transient Performance
PD-Control can add some damping effect to the output
PD-Control can reduce the settling time considerably
To control the steady-state error, the gain (or time scale ) must be large
(This however may
make the system
sensitive to noise)
Effects of 

## Slide 35: PID (Proportional-Integral-Derivative) Control
(output u(t) ∝ e(t) + integral of e(t) + derivative of e(t))

## Slide 36: PID (Proportional-Integral-Derivative) Control
Sometimes, write
(, and )

## Slide 37: PID (Proportional-Integral-Derivative) Control
Unity feedback system with
( , and )

## Slide 38
Steady-State Tracking Performance
  System type = 1
  Steady-State Tracking Error for Ramp input is
  Similarly improved performance as PI-control
  It improves transient performance (next page)

## Slide 39
Transient Performance
  Has one more zero than PI-control
  Poles further away from imaginary axis
   better damping effect than P-control
  Always stable for large K
Recall from Lectrure-3:
A zero near a pole reduces the effect of the pole on response
A zero on RHP --> non-minimum-phase system
A real zero on LHP moving towards imaginary axis will increase overshoot and rise time
A pair of complex conjugate zeros on LHP, moving toward imaginary axis, will increase overshoot

## Slide 40
Typical Unit Step Response of PID-Control

## Slide 41
Example:
A = 1/6 , t1 = 1/2 , t2 = 1/3

Unity feedback system with
( , and )

## Slide 42
Comparison of Typical Unit Step Responses

## Slide 43: PID Tuning
Tuning parameters: Kp , Ki , Kd
Control requirements:
  Steady-State Error
  Overshoot
  Rise Time
  Settling Time
PID Gain | Steady-State Error | % Overshoot | Rise Time | Settling Time
Kp | Decrease | Increase | Decrease | Small change
Ki | Large decrease | Increase | Decrease | Increase
Kd | No effects | Decreases | Small decrease | Decreases

## Slide 44: Comparison
Control | Advantages | Disadvantages
P | ↓ Error | ↑ Gain may destabilize system
I | Improves tracking Provides robustness w.r.t. parameter variations | ↓ Stability
D | ↑ Damping Improves stability | Amplify high-frequency errors

## Slide 45: PID Controller Implementation by Op-Amp

## Slide 47
PI + PD Control

## Slide 48: Ziegler-Nichols Rules for Tuning PID Controllers
Tuning the gains KP , Ki , Kd are not easy
Ziegler and Nichols proposed two heuristic methods for tuning these parameters for good closed-loop responses
(This is a stable operation but may yield large overshoots)
Very useful when mathematical model of plant is unknown
(It can also be applied to the design of systems with
known plant models)

## Slide 49: Ziegler-Nichols First Method
Record experimental output response of the plant to unit step input
Conditions:
Plant involves no integrators nor complex-conjugate poles
The response exhibits S-shaped curve
Then, the transfer function of the plant can be approximated by
Plant
Y(t)
Y(t)

## Slide 50
Ziegler-Nichols first rule (Obtain T and L from figure)
 | K | Ti | Td
P | T/L | ∞ | 0
PI | 0.9T/L | L/0.3 | 0
PID | 1.2T/L | 2L | 0.5L
It has double zeros:
It suggests the following PID control parameters
ZN Table (First Method)

## Slide 51
Example:
Suppose that from an s-shaped plant response curve, one observes that
and
Design PI control by Ziegler-Nichols first rule (Table):
K = Kp = 0.9T/L = 11.25
TI = L/0.3 = 1/3
Ki = K/TI = 33.75
 Simulation result (next page)

## Slide 52: Time Response of PI control with Kp = 11.25 and Ki = 33.75
Mp

## Slide 53: Ziegler-Nichols Second Method
Set and
Using P-control only, increase K from 0 to a Critical Gain Kcr at which the output exhibits sustained oscillations (marginally stable):
If output does not exhibit oscillation for any value of K then this method cannot be applied
y(t)
y(t)
K
Critical Period

## Slide 54
 | K | Ti | Td
P | 0.5Kcr | ∞ | 0
PI | 0.45Kcr | Pcr | 0
PID | 0.6Kcr | 0.5Pcr | 0.125Pcr
It suggests PID control parameters:
ZN Table (Second Method)
Ziegler-Nichols second rule
(Obtain from tuning from figure)

## Slide 55
Tyreus-Luyben Method
(Closed-Loop P-Control Test)
Same as the Ziegler-Nichols method
Evaluate control parameters according to TL-Table
TL Table

## Slide 56
Design Example:
Y(s)
Plant has integrator , so Ziegler–Nichols second method is used
Set
K
(P-controller)
Routh Table

## Slide 57
ZN Table:
Y(s)

## Slide 58
%MatLab code
num = [6.3223 18 12.811];
den = [1 6 11.3223 18 12.811];
step(num,den)
grid
Note: The overshoot can be further reduced by increasing the gain while keeping the double zero (s = – 0.65), e.g. till
(numerically determined)

## Slide 59
PID Design Based on Frequency Responses
Example: For a given plant, design a PID controller
Set with sinusoidal input
Now, suppose that the specifications are:
, gain margin > 10 dB, phase margin >
Need to determine a and b (to satisfy the two margins)
(steady velocity error)

## Slide 60
In steady state, , so to find the gain margin and phase margin, consider the Transfer Function with step input
%MatLab code
num = [5 21 4];
den = [1 0 1 0];
w = logspace(-2,2,100);
bode(num,den,w)
title('Bode Diagram of 4(5s+1)(0.25s+1)/[s(s^2+1)]')
Using MatLab, with a = 5, b = 0.25
 Specifications are satisfied

## Slide 61: Frequency Responses of PI Control
To determine what part of the locus is acceptable:
Use MatLab: control gain K: 0 → ∞

## Slide 62
Im
Re
Root Locus for PI-Control
MatLab plot shows all possible closed-loop pole locations for the control gain K: 0 → ∞

## Slide 63
Im
Re

## Slide 64: Frequency Response of PD Control
To determine what part of the locus is acceptable:
Use MatLab: control gain K: 0 → ∞

## Slide 65
Im
Re
Root Locus for PD-Control
MatLab plot shows all possible closed-loop pole locations for the control gain K: 0 → ∞

## Slide 66
Im
Re

## Slide 67
Im
Re

## Slide 68
END